## Slide 1: ART 2640, Building Systems of Interior Environments Fall Semester 2020 Tuesdays & Thursdays 10:30-11:50 Online
Matthew Ziff, Associate Professor
M. Arch, Architect, NCIDQ
Office: W 325 Grover Center
E-mail: ziff@ohio.edu
Luminaire Types

## Slide 2: Luminaire Types
Manufacturer Specifications

## Slide 3: Luminaire Literature and Cut Sheets
Mounting style
    Ceiling, recessed, surface, wall, pendant or canopy
Fixture Size and Height
    Dimensions
Aesthetics
    Finishes, colors, trims, diffusers, accessories
Light suitability
    Insulated ceiling (IC), plenums, damp/wet, dimmable, instant on/off, adjustable/aimable, create glare, quality, color, and texture of light delivered
Lamp and Electrical Basics
    Multiple lamp sources, fixture voltage options, wattage limitations, require a ballast or transformer
Light Output Performance
    Lumen output, efficacy, distribution shape, distribution diagram,

## Slide 4: Selecting Luminaires – Primary Sources
http://www.lighting.philips.com – Philips Lighting
http://www.gelighting.com/na/ - GE Lighting
http://www.artemide.us/ - Artemide lighting
http://w1.siemens.com/entry/cc/en/ - Siemens
http://focusfo.com/ - Focus International – fibre optics
http://www.sylvania.com/BusinessProducts/LightingForBusiness/Services/ - Sylvania
http://www.hewilliams.com/ - HE Williams Inc.

## Slide 5: Primary Sources Cont.
http://www.elliptipar.com/- Elliptipar
http://unilights.ae/ - Universal Lighting Industries
http://www.brucklightingsystems.com/ - Bruck Lighting
http://www.junolightinggroup.com/ - Juno Lighting Group
http://www.lithonia.com/ - Lithonia Lighting Company
http://www.techlighting.com/ - Tech Lighting
http://www.cooperlighting.com - Cooper Lighting

## Slide 6: Secondary / Retail Sources
http://www.lightingdirect.com/
http://www.lampsplus.com/
http://www.lightinguniverse.com/
http://www.lumens.com
http://www.ylighting.com

## Slide 7: Control Systems
Switching
Dimming
Other

## Slide 8: Control Systems
Typical Switched circuits
    Electricity comes in to a Distribution / Power panel / Breaker box then is delivered to the fixtures/outlets.
Wall Mounted Devices
  Dimmers – Rheostat - transformer devices that reduces voltage to lighting fixtures
  Timer Switches – Keeps a switch on for a set amount of time
  Time Clocks – Allows for lighting to turn on/off during specific times throughout the day.
  Occupancy Sensors – detects occupancy by heat, sound, motion or obstruction.

## Slide 9: Control Systems
Intelligent Control Systems
    Electricity comes in to a Distribution / Power panel / Breaker box – then to a intelligent control panel – then to the fixtures/ outlets.
    Usually only one used per project
    Multi-button keypads replaces switches
    Luminaires group together are called lighting loads or lighting zones
    Manufacturers include: Luton, Litetouch, Vantage, Crestron
  Localized Control Panels
    Watt Stopper, Lutron “Grafik Eye” and Crestron